## Slide 1: Fire Protection strategy
Fatma Lestari, PhD
<number>

## Slide 2: Outline
Management Commitment
Integration to Risk Management System
Key Factors of a Fire Protection Strategy
<number>

## Slide 3: Fire Protection Strategy
a systematic approach to identifying, reducing, and managing fire hazards
<number>

## Slide 4: Objectives
Protection of personnel is considered in the design of fire protection systems.
Credible hazards have been identified, assessed, understood, and documented.
Every opportunity to minimize the hazards has been identified, considered, and, where practical, implemented.
The capital investment and estimated operating expense is optimized with a view to minimizing hazards.
Corporate goals can be met for the facility’s lifetime.
Potential adverse effects on neighbors, community, and the environment are controlled.
<number>

## Slide 5: Integration of Fire Protection into a Risk Management System
<number>

## Slide 6: Key Factors of a Fire Protection Strategy
<number>

## Slide 7: Prescriptive Fire Protection
Prescriptive fire protection is standardized guidance or requirements without recognition of site-specific factors.
Compliance with regulations, insurance requirements, industry practices, or company procedures.
<number>

## Slide 8: Performance-based design
Performance-based design adopts an objective-based approach to provide a desired level of fire protection.
A more specific prediction of potential fire hazards for a given system or process.
Based on performance measured against established goals
Based on Fire Hazard Analysis (FHA) or fire risk assessment
<number>

## Slide 9: An example of a performance-based design statement
Stated Objective that:
A process unit should not exceed $100,000 in damage for any fire in the unit.
A fire should not escalate to additional units.
<number>

## Slide 10: Hazard Management Approaches
<number>

## Slide 11: Hazard Control Measures
Elimination measures
Prevention measures
Proactive Controls
Mitigation measures
Reactive Controls
Incidents
Hazards
Causes
Outcomes
Emergency Response
Detection and Control
<number>

## Slide 12: Integration with the lifecycle of a Facility
<number>

## Slide 13: Cost of Fire Protection Performance
<number>

## Slide 14
Management of Change (MOC)
<number>

## Slide 15: Fire Hazard Studies
Management of Change (MOC)
<number>